## Slide 1: Ontario School Boards
72 district school boards in Ontario
Approximately 4,900 schools
TDSB presently operates 551 active schools
Approximately 11.3% of provincial total

## Slide 2: Condition Assessment Program
Initiated by Ministry of Education (EDU) for all school boards and authorities in Ontario
Administered by VFA Canada Corp. (VFA)
A Facility Condition Assessment is conducted for every eligible school in Ontario every 5 years
Appendix A shows a summary of estimated costs to address renewal needs by system component

## Slide 3: Appendix A - YEAR 2014
SYSTEMS | Urgent Priority | High Priority | Medium Priority | Low Priority | Total
Brick work/ Structure | $7,551,036 | $108,609,044 | $5,368,393 | $6,511,041 | $128,039,514
Roofing | $242,216 | $26,158,388 | $149,200,220 | $15,242,791 | $190,843,615
PA systems | $0 | $29,908,568 | $6,654,682 | $1,973,173 | $38,536,423
Transformers | $4,701,192 | $2,675,955 | $753,087 | $0 | $8,130,234
Switch Gears | $20,821,177 | $12,604,324 | $5,138,415 | $0 | $38,563,915
Plumbing | $51,555 | $81,435,978 | $24,267,075 | $10,462,378 | $116,216,986
Plumbing Fixtures | $0 | $30,185,540 | $13,470,769 | $4,448,208 | $48,104,517
Parking and Roadway asphalt | $0 | $40,287,327 | $6,664,519 | $2,002,113 | $48,953,959
Playing fields | $0 | $16,639,460 | $5,835,271 | $4,026,539 | $26,501,270
Boilers | $64,519,349 | $11,343,283 | $5,328,765 | $0 | $81,191,397
Ceilings | $0 | $88,985,474 | $22,594,108 | $9,738,768 | $121,318,349
Elevators | $566,280 | $4,542,140 | $1,471,836 | $0 | $6,580,256
Exterior Doors | $470,955 | $33,837,912 | $0 | $1,617,920 | $35,926,787
Exterior Windows | $6,662,136 | $69,847,525 | $3,759,690 | $0 | $80,269,351
Fire Alarm | $13,994,883 | $5,264,596 | $3,436,930 | $0 | $22,696,409
Floor Finish | $0 | $82,428,204 | $23,913,242 | $9,945,836 | $116,287,282
Gym Floor | $0 | $16,614,298 | $3,548,090 | $3,096,822 | $23,259,211
HVAC | $213,361,024 | $337,032,966 | $65,341,770 | $45,976,740 | $661,712,500
Interior Doors | $0 | $34,049,113 | $21,449,090 | $3,013,626 | $58,511,829
Interior Stairs | $5,613,798 | $4,683,680 | $1,711,678 | $0 | $12,009,156
Lighting and Branch Wiring | $250,068 | $187,038,039 | $85,017,029 | $47,216,853 | $319,521,990
Misc. Arch. | $0 | $144,214,635 | $53,712,295 | $17,475,916 | $215,402,846
Other Site Work | $0 | $13,183,947 | $4,155,957 | $1,314,817 | $18,654,721
All Other Systems | $86,007,964 | $91,862,854 | $31,650,061 | $22,347,159 | $231,868,038
Total | $424,813,633 | $1,473,433,250 | $544,442,972 | $206,410,700 | $2,649,100,555

## Slide 4: Renewal Needs Backlog
TDSB’s Renewal Needs Backlog is presently ~$3.3 billion based on VFA’s latest validation
EDU funding increased to $75 million in 2014/15
EDU funding further increased to $156 million in 2015/16
Despite the increase in funding it is still relatively inadequate to address TDSB’s renewal needs backlog

## Slide 5: Facility Condition Index (FCI)
FCI Rating is a building industry standard for calculating facility condition and is the ratio of a facility’s renewal needs divided by its replacement value, expressed as a percentage
Ministry FCI Category | FCI Category Range | # of TDSB Schools
Good | FCI < 10 % | 35
Fair | 10 < FCI < 30 % | 184
Poor | 30 < FCI < 65 % | 195
Critical | FCI > 65% | 137
60 % of TDSB schools are in poor or critical condition, including 19 with a FCI rating > 100% and only 6.8 % are in good condition

## Slide 6: Report on American School Facilities
A report entitled Reversing the Cycle of Deterioration in the Nation’s Public School Buildings (RCD) October, 2014, looked at the state of American schools
A major finding of the report is that financially squeezed school districts made economic decisions that did not properly address the backlog of maintenance work which will actually increase the amount and frequency of much more expensive breakdown in the future

## Slide 7: Comparison of TDSB to Other School Boards
          For the American Schools the data is based on 2010 statistics.
          Shown in American dollars.
          Total Ontario renewal backlog (~15 B) - TDSB (~ 3.3 B)/Total Ontario student population (~2.1 M) – TDSB ~ (.25 M)
          The TDSB has 51 schools that are older than 95 years, including 7 that were built before 1900.
          Based on Auditor General of Ontario report December, 2015
 | Average for American Schools1,2 | TDSB | Average for Other School Boards in Ontario
Renewal/Deferred Maintenance Backlog Cost/Student ($) | 4,883 | 13,299 | ~6,3253
Average age of School Buildings (Years) | 40 | 624 | 38 5

## Slide 8: RCD Report
RCD report suggests that between 2% and 4% of the total replacement value of all schools should be set aside annually to replace capital systems and facilities
Total replacement value of the TDSB schools as determined by EDU is ~ $7.4 billion
3% of that replacement total is ~ $222 million
2015/16 shortfall is ~ $66 million (based on the $156 million funding provided by the EDU in 2015/16)
“The Ministry of Education estimated that it needs $1.4 billion a year to maintain schools in a state of good repair, based on industry averages. However, actual annual maintenance funding over the last five years has ranged from $150 million to $500 million.” (Auditor General of Ontario December, 2015)

## Slide 9: Roofing
TDSB maintains ~ 25 million sq. ft. of roofing
Area equivalent to 387 CFL football fields
During 2013/14 and first quarter of 2014/15 Facility Services has received 2208 notifications of school roof leaks
By end of 2015, ~ 40% of TDSB’s roof portfolio remains urgently in need of replacement
Require $30 million annually for the next 4-5 years

## Slide 10: Heating Plants
Approximately 130 schools are heated by steam boiler plants whose theoretical life cycle has been exceeded on average by more than 25 years
Estimated cost to replace steam plant with hot water plant is $2-3 million per school
35 years to replace all existing steam plants at a rate of 3-4 projects ($10 million) per year

## Slide 11: 2015/16 EDU Renewal Needs Program Funding
$112 million School Condition Improvement (SCI) funding
80% (~$90 million) is restricted to addressing major building components and systems
20% (~$22 million) can be used to address any locally identified renewal needs that are listed in the asset management database created by VFA
~$44 million renewal needs grant

## Slide 12: SCI Restricted Funding ($~90 Million)
Roofing $30 million
Boilers $20 million
Structural $15 million
Mechanical Ventilation $10 million
Windows $ 5 million
Public Address Systems $ 5 million
Fire Alarm Systems $ 3 million
Electrical Systems $ 2 million

## Slide 13: SCI Locally Identified Renewal Needs (~$22 Million)
Barrier Free (per need) $5 million
Parking Lots (per need) $5 million
Field Restoration (per need) $4 million
Interior (spread over 22 wards) $3 million
Fascia (spread over 22 wards) $3 million
Painting (spread over 22 wards) $2 million

## Slide 14: Renewal Needs Grant (~$44 Million)
Small projects to extend life of building component $14 m
Unplanned Renewal $12 m
Planned programs (Standard & Compliance, Urban Forest Management, Security, Energy Efficiency) $ 7 m
Emergency/Health & Safety $ 5 m
Admin Costs $ 3 m
Data/Call Center $ 2 m
Soil Remediation $ 1 m

## Slide 15: Renewal Summary
All health and Safety issues are dealt with
The ~$3.3 billion backlog is not due to lack of attention by TDSB but rather lack of appropriate funding
TDSB gets no capital funding for replacement of sports fields and play areas